## General
Project ID | Project Name | Country | Region | Project Type | Contract Type | Developer / Client | Counterparty / EPC | Source Type | Native Currency | CAPEX | OPEX | EPC Start Year | COD Year | DC Capacity MWp | AC Capacity MW | Technology | P50 Yield kWh/kWp | LCOE ($ct/kWh) | Status | Completeness % | Notes
EX001 | France Group 2022 | France | Westren Europe | Portfolio Group | Assumptions | Confidential Client #1 | Multiple | Contract | USD | 12 | 0.5 | 2022 | 2026 | 1087 |  | Undefined |  |  | Commissioning | 94% | Completeness percentage for the project core data only
EX002 | France Group 2023 | France | Westren Europe | PV + BESS | Assumptions | Confidential Client #1 | Contractor Y | Contract | SAR | 2 | 1.5 | 2023+ | 2027 |  |  | Undefined | 1900 |  | Bid | 100% | Demonstrates hybrid handled via extra cost lines
EX003 | France Group 2024 | France | Westren Europe | PV+Wind | Assumptions | Confidential Client #1 | Contractor Y01 | TDD | EUR | 1.09 | 2.5 | 2024+ | 2030 |  |  | Undefined |  |  | Development | 94%
EX004 | Germany Group 2022 | Germany | Central Europe | PV | Assumptions | Confidential Client #1 | Contractor Y | Contract | USD | 13 | 3.5 | 2022 | 2026 | 944 |  | Undefined | 2096 |  | Commissioning | 100% | Completeness percentage for the project core data only
EX005 | Germany Group 2023 | Germany | Central Europe | PV | Assumptions | Confidential Client #1 | Contractor Y02 | TDD | USD | 3 | 4.5 | 2023+ | 2027 |  |  | Undefined | 2012 |  | Bid | 100% | Demonstrates hybrid handled via extra cost lines
EX006 | Germany Group 2024 | Germany | Central Europe | PV | Assumptions | Confidential Client #1 | Contractor Y | Contract | USD | 2.09 | 5.5 | 2024+ | 2026 |  |  | Undefined | 2086 |  | Development | 100%
EX007 | Greece Group 2022 | Greece | Southeastren Europe | PV | Assumptions | Confidential Client #1 | Contractor Y03 | TDD | USD | 14 | 6.5 | 2022 | 2027 | 946 |  | Undefined | 2086 |  | Commissioning | 100% | Completeness percentage for the project core data only
EX008 | Greece Group 2023 | Greece | Southeastren Europe | PV | Assumptions | Confidential Client #1 | Contractor Y | Contract | USD | 4 | 7.5 | 2023+ | 2026 |  |  | Undefined | 2115 |  | Bid | 100% | Demonstrates hybrid handled via extra cost lines
EX009 | Greece Group 2024 | Greece | Southeastren Europe | PV | Assumptions | Confidential Client #1 | Contractor Y04 | TDD | USD | 3.09 | 8.5 | 2024+ | 2027 |  |  | Undefined | 2084 |  | Development | 100%
EX010 | Ireland Group 2022 | Ireland | Northwestern Europe | PV | Assumptions | Confidential Client #1 | Contractor Y | Contract | USD | 15 | 9.5 | 2022 | 2026 | 498 |  | Undefined | 1984 |  | Commissioning | 100% | Completeness percentage for the project core data only
EX011 | Ireland Group 2023 | Ireland | Northwestern Europe | PV | Assumptions | Confidential Client #1 | Contractor Y05 | TDD | USD | 5 | 10.5 | 2023+ | 2027 |  |  | Undefined | 1831 |  | Bid | 100% | Demonstrates hybrid handled via extra cost lines
EX012 | Ireland Group 2024 | Ireland | Northwestern Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2024+ |  |  |  | Undefined
EX013 | Italy Group 2022 | Italy | Southern Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2022 |  | 3213 |  | Undefined
EX014 | Italy Group 2023 | Italy | Southern Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2023+ |  |  |  | Undefined
EX015 | Italy Group 2024 | Italy | Southern Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2024+ |  |  |  | Undefined
EX016 | Netherlands Group 2022 | Netherlands | North Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2022 |  | 7593 |  | Undefined
EX017 | Netherlands Group 2023 | Netherlands | North Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2023+ |  |  |  | Undefined
EX018 | Netherlands Group 2024 | Netherlands | North Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2024+ |  |  |  | Undefined
EX019 | Poland Group 2022 | Poland | Central Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2022 |  | 710 |  | Undefined
EX020 | Poland Group 2023 | Poland | Central Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2023+ |  |  |  | Undefined
EX021 | Poland Group 2024 | Poland | Central Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2024+ |  |  |  | Undefined
EX022 | Spain Group 2022 | Spain | Western Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2022 |  | 1394 |  | Undefined
EX023 | Spain Group 2023 | Spain | Western Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2023+ |  |  |  | Undefined
EX024 | Spain Group 2024 | Spain | Western Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2024+ |  |  |  | Undefined
EX025 | UK Group 2022 | UK | North Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2022 |  | 2335 |  | Undefined
EX026 | UK Group 2023 | UK | North Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2023+ |  |  |  | Undefined
EX027 | UK Group 2024 | UK | North Europe |  | Assumptions | Confidential Client #1 | [5 empty] | 2024+ |  |  |  | Undefined
EX028 | US Group 2022 | USA | North America |  | Assumptions | Confidential Client #1 | [5 empty] | 2022 |  | 7007 |  | Undefined
EX029 | US Group 2023 | USA | North America |  | Assumptions | Confidential Client #1 | [5 empty] | 2023+ |  |  |  | Undefined
EX030 | US Group 2024 | USA | North America |  | Assumptions | Confidential Client #1 | [5 empty] | 2024+ |  |  |  | Undefined
EX031 | Sakaka | KSA | Middle East |  | Bid | Masdar | [7 empty] | 328 |  | tracking bf |  | 1.7867
EX032 | Maxsolar |  |  |  | Unknown | Engie
EX033 | Sunrock Möckmühl |  |  |  | TDD/ EPC Contract | Sunrock Solarproject 1 GmbH
EX034 | Sunrock Dorsten | Germany | Central Europe |  | TDD/ EPC Contract | Sunrock Solarproject 1 GmbH | [5 empty] | 2022 |  | 3.5 |  | fix-tilt
EX035 | Sunrock Polch | Germany | Central Europe |  | TDD/ EPC Contract | Sunrock Solarproject 1 GmbH | [5 empty] | 2022 |  | 5.037 |  | Half Cell Monofacial
EX036 | Sunrock Unna | Germany | Central Europe |  | TDD/ EPC Contract | Sunrock Solarproject 1 GmbH | [5 empty] | 2022 |  | 1.918 |  | fixed tilt (N/S) split array (monocrystalline)
EX037 | DEWA ETA V | UAE | Middle East |  | Monthly Report ETA/ Website of DEWA | ACWA Power (Shuaa Energy 3) | [5 empty] | 2020 |  | 900 |  | tracking bf
EX038 | Dekemhare 30 MW Solar PV Project | Eritrea | East Africa |  | Bid | Ministry of Energy and Mines - Bidder 1 (RIC SUN INVESTMENTS SL) | [5 empty] | TBC |  | 34.5 | 30 | tracking bf |  | 5.9
EX039 | Dekemhare 30 MW Solar PV Project | Eritrea | East Africa |  | Bid | Ministry of Energy and Mines - Bidder 2 (Nanjing Daji Steel Tower Manufacturing Co., Ltd and Guodian Nanjing Automation Co., Ltd) | [5 empty] | TBC |  | 34.5 |  | Half Cell Monofacial |  | 5.1
EX040 | Dekemhare 30 MW Solar PV Project | Eritrea | East Africa |  | Bid | Ministry of Energy and Mines - Bidder 3 (TBEA Intl Eng - TBEA Sunoasis JV) | [5 empty] | TBC |  | 34.5 |  | Monofacial |  | 6.1
EX041 | Dekemhare 30 MW Solar PV Project | Eritrea | East Africa |  | Bid | Ministry of Energy and Mines - Bidder 4 (Dongfang Electric International Corporation) | [5 empty] | TBC |  | 34.5 |  | bf tracking (monocrystalline) - P type |  | 8.4
EX042 | Dekemhare 30 MW Solar PV Project | Eritrea | East Africa |  | Bid | Ministry of Energy and Mines - Bidder 5 (AEE Power EPC, SAU) | [5 empty] | TBC |  | 34.5 |  | tracking bf |  | 6.5
EX043 | Dekemhare 30 MW Solar PV Project | Eritrea | East Africa |  | Bid | Ministry of Energy and Mines - Bidder 6 (JV POWERCHINA HEEC - POWERCHINA JEPCC) | [5 empty] | TBC |  | 34.5 |  | bf tracking (moncrystalline), Half cell (Bifacial) |  | 2.8
EX044 | Al Kharsaa | Qatar | Middle East |  | Bid | TotalEnergies and Marubeni (40%), Siraj | [5 empty] | 2018 |  | 370 |  |  |  | 2.3413
EX045 | Al Kharsaa | Qatar | Middle East |  | Bid | TotalEnergies and Marubeni (40%), Siraj | [5 empty] | 2018 |  | 395 |  |  |  | 2.6613
EX046 | Dtek Pokrovskaya | Ukraine | East Europe |  | Bid | [6 empty] | 2018 |  | 370 |  | fix-tilt |  | 2.7707
EX047 | Dtek Pokrovskaya | Ukraine | East Europe |  | Bid | [6 empty] | 2018 |  | 395 |  | fix-tilt |  | 2.784
EX048 | Ellomay | Israel | Middle East |  | Bid | GranSolar | [5 empty] | 2021 |  | 27.98 | 26.62 | tracking bf |  | 2.856
EX049 | Ellomay | Israel | Middle East |  | Bid | Metka | [5 empty] | 2021 |  | 27.96 | 27.83 | tracking bf |  | 2.8587
EX050 | Ellomay | Israel | Middle East |  | Bid | Solarpark | [5 empty] | 2021 |  | 28 | 27.75 | tracking bf |  | 3.2347
EX051 | Talasol | Spain | South Europe |  | Bid | Talasol | [5 empty] | 2020 |  | 300 | 272 | tracking mf |  | 2.48
EX052 | BayWa r.e.-Fern | USA | North America |  | Bid | BayWa r.e. | [5 empty] | 2019 |  | 133.85 | 100 | tracking bf |  | 2.33
EX053 | BSEP | Egypt | North Africa |  | Bid | IB Vogt | [5 empty] | 2019 |  | 64.3 |  | tracking mf |  | 2.39
EX054 | BayWa r.e.-Isohara | Japan | East Asia |  | Contract | BayWa r.e. | [5 empty] | 2018 |  | 34.993 | 25.5
EX055 | Ibri | Oman | Middle East |  | Unknown | ACWA | [5 empty] | 2018 |  | 676.6667 |  | tracking mf
EX056 | Ibri | Oman | Middle East |  | Unknown | - | [5 empty] | 2018 |  | 566.6667 |  | tracking bf
EX057 | Ibri | Oman | Middle East |  | Unknown | - | [5 empty] | 2018 |  | 668.8889 |  | south mf
EX058 | Nadec | KSA | Middle East |  | Unknown | - | [5 empty] | 2018 |  | 30 |  | tracking bf
EX059 | RE Gebeng | Malaysia | South East Asia |  | Unknown | Re Gebeng | [5 empty] | 2018 |  | 38.9 | 29.916 | e/w mf
EX060 | De Kie | Netherlands | North Europe |  | Unknown | IB Vogt | [5 empty] | 2018 |  | 10.2 |  | south mf
EX061 | Geldermalsen | Netherlands | North Europe |  | Unknown | IB Vogt | [5 empty] | 2018 |  | 9.3 |  | south mf
EX062 | BayWa r.e.-Karadoc | Australia | Oceania |  | Unknown | BayWa r.e. | [5 empty] | 2018 |  | 112.535 | 100 | tracking mf
EX063 | Infinity 50 | Egypt | North Africa |  | Unknown | IB Vogt | [5 empty] | 2017 |  | 63.7 |  | tracking mf
EX064 | Barth III | Germany | Central Europe |  | Bid | SPM Solarpark Möhlau GmbH & Co. KG | [5 empty] | 2017 |  | 10 | 8.38 |  |  | 3.958
EX065 | Bargoed | UK | North Europe |  | Bid | IB Vogt | [5 empty] | 2017 |  | 5 |  | south mf |  | 4.482
EX066 | Sweihan | UAE | Middle East |  | Bid | Marubeni | [5 empty] | 2016 |  | 1177 |  | e/w mf |  | 4.436
EX067 | Sweihan | UAE | Middle East |  | Bid | Masdar | [5 empty] | 2016 |  | 1226 |  | e/w mf |  | 2.997
EX068 | Sweihan | UAE | Middle East |  | Bid | JGC | [5 empty] | 2016 |  | 1021 |  | south mf |  | 3.695
EX069 | Sweihan | UAE | Middle East |  | Bid | Tenaga | [5 empty] | 2016 |  | 871 |  | south mf |  | 3.948
EX070 | Sweihan | UAE | Middle East |  | Bid | RWE | [5 empty] | 2016 |  | 983 |  | e/w mf |  | 4.087
EX071 | Sweihan | UAE | Middle East |  | Bid | Kepco | [5 empty] | 2016 |  | 508 |  | south mf |  | 4.337
EX072 | Ring O Bells | UK | North Europe |  | Bid | IB Vogt | [5 empty] | 2016 |  | 5 |  |  |  | 2.88
EX073 | DEWA Round 3 | UAE | Middle East |  | Bid | ACWA | [5 empty] | 2016 |  | 250 |  | tracking mf |  | 3.395
EX074 | DEWA Round 3 | UAE | Middle East |  | Bid | EDF | [5 empty] | 2016 |  | 265 |  | tracking mf |  | 4.047
EX075 | DEWA Round 3 | UAE | Middle East |  | Bid | Engie | [5 empty] | 2016 |  | 251 |  | tracking mf |  | 4.041
EX076 | DEWA Round 3 | UAE | Middle East |  | Bid | Masdar | [5 empty] | 2016 |  | 263 |  | tracking mf |  | 4.438
EX077 | DEWA Round 3 | UAE | Middle East |  | Bid | Jinko | [5 empty] | 2016 |  | 232 |  | tracking mf |  | 2.995
EX078 | DEWA Round 3 | UAE | Middle East |  | Bid | ACWA | [5 empty] | 2016 |  | 625 |  | tracking mf |  | 3.289
EX079 | DEWA Round 3 | UAE | Middle East |  | Bid | EDF | [5 empty] | 2016 |  | 607 |  | tracking mf |  | 2.94
EX080 | DEWA Round 3 | UAE | Middle East |  | Bid | Engie | [5 empty] | 2016 |  | 652 |  | tracking mf |  | 3.08
EX081 | DEWA Round 3 | UAE | Middle East |  | Bid | Masdar | [5 empty] | 2016 |  | 650 |  | tracking mf |  | 3.769
EX082 | DEWA Round 3 | UAE | Middle East |  | Bid | Jinko | [5 empty] | 2016 |  | 589 |  | tracking mf |  | 3.135
EX083 | DEWA Round 3 | UAE | Middle East |  | Bid | ACWA | [5 empty] | 2016 |  | 1000 |  | tracking mf |  | 3.55
EX084 | DEWA Round 3 | UAE | Middle East |  | Bid | EDF | [5 empty] | 2016 |  | 1076 |  | tracking mf |  | 4.351
EX085 | DEWA Round 3 | UAE | Middle East |  | Bid | Engie | [5 empty] | 2016 |  | 1029 |  | south mf
EX086 | DEWA Round 3 | UAE | Middle East |  | Bid | Masdar | [5 empty] | 2016 |  | 1043 |  | tracking mf |  | 1.3242
EX087 | DEWA Round 3 | UAE | Middle East |  | Bid | Jinko | [5 empty] | 2016 |  | 975 |  | south mf |  | 1.3961
EX088 | Oving | UK | North Europe |  | Bid | IB Vogt | [5 empty] | 2012 |  | 5 |  |  |  | 1.5894
EX089 | Lee Farm | UK | North Europe |  | Bid | IB Vogt | [5 empty] | 2012 |  | 5 |  |  |  | 1.5188
EX090 | Ebbsfleet | UK | North Europe |  | Bid | IB Vogt | [5 empty] | 2011 |  | 5 |  |  |  | 1.809
EX091 | Sakaka | KSA | Middle East |  | TDD/ Contract | ACWA | [7 empty] | 407 |  | tracking mf
EX092 | Sakaka | KSA | Middle East |  | TDD | Marubeni | [7 empty] | 361 |  | tracking mf
EX093 | Sakaka | KSA | Middle East |  | TDD/ Financial Model | Engie | [7 empty] | 371 |  | tracking mf
EX094 | Sakaka | KSA | Middle East |  | TDD | JGC | [7 empty] | 355 |  | tracking mf
EX095 | Sakaka | KSA | Middle East |  | TDD | Mitsui | [7 empty] | 373 |  | tracking mf
EX096 | Sakaka | KSA | Middle East |  | TDD | Total | [7 empty] | 376 |  | tracking mf
EX097 | Sakaka | KSA | Middle East |  | TDD | Cobra | [7 empty] | 364 |  | tracking mf
EX098 | PV 2 | UAE | Middle East |  | Contract | EDF/Jinko | [5 empty] | 2020 |  | 2100 | 1584 | E/W tracking bf
EX099 | PV 2 | UAE | Middle East |  | TDD | ACWA | [7 empty] | 2321 | 1600 | 80% tracking bf, 20% tracking mf
EX100 | PV 2 | UAE | Middle East |  | TDD | Marubeni | [7 empty] | 2148 | 1677 | tracking bf
EX101 | PV 2 | UAE | Middle East |  | Shortlisting report | Engie | [7 empty] | 1810 | 1613 | tracking bf |  | 1.3804
EX102 | PV 2 | UAE | Middle East |  | Shortlisting report | Softbank | [7 empty] | 2100 | 1500 | tracking bf |  | 1.6561
EX103 | BayWa r.e.- Parque Solar La Paloma | Mexico | North America |  | Shortlisting report | BayWa r.e. and Next Energy | [7 empty] | 249.061 | 223.44 |  |  | 1.7
EX104 | BayWa r.e.- Exloo | Netherlands | Northwestern Europe |  | Shortlisting report | BayWa r.e. | [7 empty] | 40 |  | fix-tilt |  | 1.78
EX105 | BayWa r.e.-Amance | France | Western Europe |  | EPC Price Breakdown File | BayWa r.e. | [7 empty] | 43.325
EX106 | BayWa r.e.-Almodovar | Spain | Southwestern Europe |  | EPC Price Breakdown File | BayWa r.e. | [7 empty] | 100 |  | mix: fix-tilt and tracking
EX107 | Bomhofsplas | Netherlands | Northwestern Europe |  | Unknown | [8 empty] | 27.4 | 20.8511
EX108 | REPDO- AFA | Saudi Arabia | Middle East |  | Unknown | Masdar | [7 empty] | 753.03 | 580 | single-axis tracked
EX109 | REPDO - JED | Saudi Arabia | Middle East |  | Unknown | Masdar | [7 empty] | 388 | 285 | single-axis tracked
EX110 | REPDO- RAB | Saudi Arabia | Middle East |  | 2017 Auction | Marubeni | [7 empty] | 399 | 300 | single-axis tracked
EX111 | REPDO - QUR | Saudi Arabia | Middle East |  | 2017 Auction | ACWA | [7 empty] | 220 | 193 | single-axis tracked
EX112 | Kalmyk SPP No 1 | Russia | East Europe |  | FiT | INGKA Group | [7 empty] | 25
EX113 | Sigma Dragon | Russia | East Europe |  | FiT | INGKA Group | [7 empty] | 15
EX114 | Samara SPP LCC | Russia | East Europe |  | Merchant/PPA | INGKA Group | [7 empty] | 75
EX115 | Almansol | Spain | Western Europe |  | Merchant/PPA | SPV 3 | [7 empty] | 50 | 39.4 | single-axis tracked
EX116 | Tabernas | Spain | Western Europe |  | Merchant/PPA | SPV 1 | [7 empty] | 41.6 | 33.4 | single-axis tracked
EX117 | GT Genera | Spain | Western Europe |  | Merchant/PPA | GT genera, Mistral fotovoltaica, Persp. Radiantes | [7 empty] | 8.8 | 8
EX118 | Anteo Solar | Spain | Western Europe |  | Merchant/PPA | Anteo Solar | [7 empty] | 2.4 | 2.2
EX119 | Cádiz | Spain | Western Europe |  | Merchant/PPA | Alya Solar, Alamak Solar | [7 empty] | 73.9 | 60.1 | single-axis tracked
EX120 | Badajoz I | Spain | Western Europe |  | Merchant/PPA | Lobelia Solar | [7 empty] | 9.6 | 8 | single-axis tracked
EX121 | Badaoz II | Spain | Western Europe |  | Merchant/PPA | Espuela Solar | [7 empty] | 9.6 | 8 | single-axis tracked
EX122 | Murcia | Spain | Western Europe |  | Merchant/PPA | Grupotec SPV 9 | [7 empty] | 36 | 30 | single-axis tracked
EX123 | Alicante | Spain | Western Europe |  | Merchant/PPA | Grupotec SPV 4, Grupotec SPV 20, IDE Planta 4 | [7 empty] | 123 | 102 | single-axis tracked
EX124 | Almería II | Spain | Western Europe |  | Merchant/PPA | Muscari Solar | [7 empty] | 36 | 30 | single-axis tracked
EX125 | Almería I | Spain | Western Europe |  | Merchant/PPA | Grupotec SPV 16, Grupotec SPV 17, IDE Planta 3 | [7 empty] | 150 | 126 | single-axis tracked
EX126 | Jaén | Spain | Western Europe |  | Merchant/PPA | Solar AF 2018 | [7 empty] | 34.5 | 30 | single-axis tracked
EX127 | Málaga | Spain | Western Europe |  | Merchant/PPA | Celeno Solar, Deneb Solar | [7 empty] | 87.9 | 73.3 | single-axis tracked
EX128 | Guadalajara | Spain | Western Europe |  | Merchant/PPA | Bessel Solar | [7 empty] | 22 | 17.4 | single-axis tracked
EX129 | Palencia | Spain | Western Europe |  | Merchant/PPA | Grupotec SPV 19 | [7 empty] | 51 | 40 | single-axis tracked
EX130 | Benejama | Spain | Western Europe |  | Unknown | Destream 2017, Eleanor Investment | [7 empty] | 65.2 | 54.4 | single-axis tracked
EX131 | Sax | Spain | Western Europe |  | Unknown | Argos Desarrollo | [7 empty] | 88.8 | 74 | single-axis tracked
EX132 | Torremendo | Spain | Western Europe |  | Unknown | Bibey Desarrollo, Itel Investment | [7 empty] | 178.8 | 149 | single-axis tracked
EX133 | Novelda | Spain | Western Europe |  | Unknown | Destream 2017, Eleanor Investment | [7 empty] | 116.4 | 96.6 | single-axis tracked
EX134 | Aparecida | Spain | Western Europe |  | Unknown | Ateles Invest, Gorilla Invest | [7 empty] | 99.8 | 99.8 | single-axis tracked
EX135 | Solarpack Suria Sungai Petani (3SP) Power Plant | Malaysia | Asia |  | Unknown | [8 empty] | 116 | 116
EX136 | Meridiam | Äthiopien | Northern Africa |  | Unknown | [8 empty] | 135 |  | fixed |  | 2.34
EX137 | Meridiam | Äthiopien | Northern Africa |  | Unknown | [8 empty] | 135 |  | tracker |  | 1.62
EX138 | REPDO Sakaka | Saudi Arabia | Middle East |  | Unknown | ACWA / Al Gihaz | [7 empty] | 324 | 300
EX139 | REPDO Jeddah | Saudi Arabia | Middle East |  | Unknown | - Abu Dhabi Future Energy Company PJSC – MASDAR - EDF Renouvelables S.A. - Nesma Holding Company Limited | [7 empty] | 306.18 | 300
EX140 | REPDO Rabigh | Saudi Arabia | Middle East |  | Unknown | Marubeni Corporation - Al Jomaih Energy and Water Company Ltd | [7 empty] | 300 | 300
EX141 | INTEC B3 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 196 | - | - |  | -
EX142 | Maxsolar B6 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 22.638 | - | - |  | -
EX143 | Maxsolar BE | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 47.524 | - | - |  | -
EX144 | Maxsolar C1 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 53.741 | - | - |  | -
EX145 | Maxsolar C2 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 97.157 | - | - |  | -
EX146 | Maxsolar M | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 45.277 | - | - |  | -
EX147 | Equans BE | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 48.274 | - | - |  | -
EX148 | Equans B3 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 195.4 | - | - |  | -
EX149 | HEC Solar B3 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 177.105 | - | - |  | -
EX150 | HEC Solar B6 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 21.0811 | - | - |  | -
EX151 | Solarpro B3 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 187 | - | - |  | -
EX152 | Solarpro B6 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 21.01 | - | - |  | -
EX153 | Solarpro BE | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 48 | - | - |  | -
EX154 | Iqony Solar B3 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 187.13 | - | - |  | -
EX155 | Greencells BE | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 42.7 | - | - |  | -
EX156 | Greencells B6 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 20.2 | - | - |  | -
EX157 | Greencells C1 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 57.9 | - | - |  | -
EX158 | Greencells M | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 42.4 | - | - |  | -
EX159 | Schoenergie B3 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 195.366 | - | - |  | -
EX160 | Schoenergie B6 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 26.237 | - | - |  | -
EX161 | Schoenergie BE | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 55.524 | - | - |  | -
EX162 | Schoenergie M | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 51.523 | - | - |  | -
EX163 | Schoenergie C1 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 62.476 | - | - |  | -
EX164 | Schoenergie C2 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 109.882 | - | - |  | -
EX165 | BElectric B3 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 142.0349 | - | - |  | -
EX166 | BElectric BE | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 46.24 | - | - |  | -
EX167 | BElectric C2 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 96.89 | - | - |  | -
EX168 | BElectric C1 | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 61.98 | - | - |  | -
EX169 | BElectric M | Germany | Central Europe |  | - | Engie | [5 empty] | - |  | 46.45 | - | - |  | -

## Cost
Project ID | Cost Phase | Cost Group | Component | Native Value | Currency | FX to USD | USD Value | Unit Basis | Project DC MWp | Project AC MW | Normalized USD/MWp | Source | Confidence | Comments | Include?
EX002 | CAPEX | Module cost | Module | 273.42 | USD | 1 |  | m$ |  |  |  | Assumptions | Medium | Example line only | Y
EX003 | CAPEX | Module cost | Module | 246.15 | USD | 1 |  | m$ |  |  |  | Assumptions | Medium |  | Y
EX005 | CAPEX | Module cost | Module | 258.33 | USD | 1 |  | m$ |  |  |  | Assumptions | Medium |  | Y
EX006 | CAPEX | Module cost | Module | 230.06 | USD | 1 |  | m$ |  |  |  | Assumptions | Medium | Annual total, different unit basis differ per contract not one unified used. | Y
EX008 | CAPEX | Module cost | Module | 258.35 | USD | 1 |  | m$ |  |  |  | Contract | High | Per kWp input example | Y
EX009 | CAPEX | Module cost | Module | 230.07 | USD | 1 |  | m$ |  |  |  | Contract | High | Extra row instead of extra columns | Y
EX011 | CAPEX | Module cost | Module | 258.35 | USD | 1 |  | m$ | 36 | 30 |  | Contract | Medium | 5830.00 USD/MWp/yr × 36.0 MWp
EX012 | CAPEX | Module cost | Module | 230.07 | USD | 1 |  | m$ | 123 | 102 |  | Contract | Medium | 5830.00 USD/MWp/yr × 123.0 MWp
EX014 | CAPEX | Module cost | Module | 258.35 | USD | 1 |  | m$ | 36 | 30 |  | Contract | Medium | 5830.00 USD/MWp/yr × 36.0 MWp
EX015 | CAPEX | Module cost | Module | 230.07 | USD | 1 |  | m$ | 150 | 126 |  | Contract | Medium | 5830.00 USD/MWp/yr × 150.0 MWp
EX017 | CAPEX | Module cost | Module | 258.35 | USD | 1 |  | m$ | 34.5 | 30 |  | Contract | Medium | 5830.00 USD/MWp/yr × 34.5 MWp
EX018 | CAPEX | Module cost | Module | 230.07 | USD | 1 |  | m$ | 87.9 | 73.3 |  | Contract | Medium | 5830.00 USD/MWp/yr × 87.9 MWp
EX020 | CAPEX | Module cost | Module | 283.36 | USD | 1 |  | m$ | 22 | 17.4 |  | Contract | Medium | 5830.00 USD/MWp/yr × 22.0 MWp
EX021 | CAPEX | Module cost | Module | 252.34 | USD | 1 |  | m$ | 51 | 40 |  | Contract | Medium | 5830.00 USD/MWp/yr × 51.0 MWp
EX023 | CAPEX | Module cost | Module | 258.35 | USD |  |  | m$
EX024 | CAPEX | Module cost | Module | 230.07 | USD |  |  | m$
EX026 | CAPEX | Module cost | Module | 263.04 | USD |  |  | m$
EX027 | CAPEX | Module cost | Module | 234.24 | USD |  |  | m$
EX029 | CAPEX | Module cost | Module | 370.59 | USD |  |  | m$
EX030 | CAPEX | Module cost | Module | 370.59 | USD |  |  | m$
EX031 | CAPEX | Mounting System cost | Mounting System | 216 | USD |  |  | m$
EX032 | CAPEX | Module cost | Module | 35.93 | USD |  |  | m$
EX032 | CAPEX | Inverter cost | Inverter | 5.17 | USD |  |  | m$
EX032 | CAPEX | Mounting System cost | Mounting System | 14.11 | USD |  |  | m$
EX033 | CAPEX | Module cost | Module | 0.84 | USD |  |  | m$
EX033 | CAPEX | Inverter cost | Inverter | 0.59 | USD |  |  | m$
EX033 | CAPEX | Mounting System cost | Mounting System | 0.15 | USD |  |  | m$
EX034 | CAPEX | Module cost | Module | 1.11 | USD |  |  | m$
EX034 | CAPEX | Inverter cost | Inverter | 0.61 | USD |  |  | m$
EX034 | CAPEX | Mounting System cost | Mounting System | 0.47 | USD |  |  | m$
EX035 | CAPEX | Module cost | Module | 1.61 | USD |  |  | m$
EX035 | CAPEX | Inverter cost | Inverter | 0.7 | USD |  |  | m$
EX035 | CAPEX | Mounting System cost | Mounting System | 0.78 | USD |  |  | m$
EX036 | CAPEX | Module cost | Module | 0.6 | USD |  |  | m$
EX036 | CAPEX | Inverter cost | Inverter | 0.14 | USD |  |  | m$
EX036 | CAPEX | Mounting System cost | Mounting System | 0.18 | USD |  |  | m$
EX038 | CAPEX | Grid Connection Cost | Grid Connection | 0.08 | USD |  |  | m$
EX038 | CAPEX | Installation cost | Installation | 10.76 | USD |  |  | m$
EX039 | CAPEX | Grid Connection Cost | Grid Connection | 0.11 | USD |  |  | m$
EX039 | CAPEX | Installation cost | Installation | 5.12 | USD |  |  | m$
EX040 | CAPEX | Grid Connection Cost | Grid Connection | 0.1 | USD |  |  | m$
EX040 | CAPEX | Installation cost | Installation | 114.01 | USD |  |  | m$
EX041 | CAPEX | Grid Connection Cost | Grid Connection | 1.01 | USD |  |  | m$
EX041 | CAPEX | Installation cost | Installation | 16.8 | USD |  |  | m$
EX042 | CAPEX | Grid Connection Cost | Grid Connection | 0.13 | USD |  |  | m$
EX042 | CAPEX | Installation cost | Installation | 5.9 | USD |  |  | m$
EX043 | CAPEX | Grid Connection Cost | Grid Connection | 1.06 | USD |  |  | m$
EX043 | CAPEX | Installation cost | Installation | 36.61 | USD |  |  | m$
EX044 | CAPEX | Module cost | Module | 0.25 | USD |  |  | m$
EX044 | CAPEX | Inverter cost | Inverter | 0.06 | USD |  |  | m$
EX044 | CAPEX | Mounting System cost | Mounting System | 0.03 | USD |  |  | m$
EX044 | CAPEX | Installation cost | Installation | 0.14 | USD |  |  | m$
EX045 | CAPEX | Module cost | Module | 0.24 | USD |  |  | m$
EX045 | CAPEX | Inverter cost | Inverter | 0.06 | USD |  |  | m$
EX045 | CAPEX | Mounting System cost | Mounting System | 0.03 | USD |  |  | m$
EX045 | CAPEX | Installation cost | Installation | 0.14 | USD |  |  | m$
EX046 | CAPEX | Module cost | Module | 0.25 | USD |  |  | m$
EX046 | CAPEX | Inverter cost | Inverter | 0.06 | USD |  |  | m$
EX046 | CAPEX | Mounting System cost | Mounting System | 0.03 | USD |  |  | m$
EX047 | CAPEX | Module cost | Module | 0.24 | USD |  |  | m$
EX047 | CAPEX | Inverter cost | Inverter | 0.06 | USD |  |  | m$
EX047 | CAPEX | Mounting System cost | Mounting System | 0.03 | USD |  |  | m$
EX051 | CAPEX | Module cost | Module | 85.89 | USD |  |  | m$
EX051 | CAPEX | Inverter cost | Inverter | 11.56 | USD |  |  | m$
EX051 | CAPEX | Mounting System cost | Mounting System | 33.39 | USD |  |  | m$
EX051 | CAPEX | Grid Connection Cost | Grid Connection | 21.72 | USD |  |  | m$
EX051 | CAPEX | Installation cost | Installation | 14.06 | USD |  |  | m$
EX052 | CAPEX | Module cost | Module | 52.8 | USD |  |  | m$
EX052 | CAPEX | Inverter cost | Inverter | 6.94 | USD |  |  | m$
EX058 | CAPEX | Module cost | Module | 9.44 | USD |  |  | m$
EX058 | CAPEX | Inverter cost | Inverter | 1.84 | USD |  |  | m$
EX058 | CAPEX | Mounting System cost | Mounting System | 3.82 | USD |  |  | m$
EX059 | CAPEX | Inverter cost | Inverter | 1.84 | USD |  |  | m$
EX059 | CAPEX | Mounting System cost | Mounting System | 8.95 | USD |  |  | m$
EX059 | CAPEX | Grid Connection Cost | Grid Connection | 2.09 | USD |  |  | m$
EX062 | CAPEX | Inverter cost | Inverter | 0.95 | USD |  |  | m$
EX062 | CAPEX | Grid Connection Cost | Grid Connection | 5.17 | USD |  |  | m$
EX064 | CAPEX | Mounting System cost | Mounting System | 0.85 | USD |  |  | m$
EX064 | CAPEX | Grid Connection Cost | Grid Connection | 3.29 | USD |  |  | m$
EX091 | CAPEX | Mounting System cost | Mounting System | 254.85 | USD |  |  | m$
EX092 | CAPEX | Mounting System cost | Mounting System | 254.85 | USD |  |  | m$
EX093 | CAPEX | Mounting System cost | Mounting System | 302.66 | USD |  |  | m$
EX094 | CAPEX | Mounting System cost | Mounting System | 273.64 | USD |  |  | m$
EX095 | CAPEX | Mounting System cost | Mounting System | 286.46 | USD |  |  | m$
EX096 | CAPEX | Mounting System cost | Mounting System | 277.47 | USD |  |  | m$
EX097 | CAPEX | Mounting System cost | Mounting System | 270.26 | USD |  |  | m$
EX107 | CAPEX | Inverter cost | Inverter | 0.93 | USD |  |  | m$
EX107 | CAPEX | Mounting System cost | Mounting System | 1.5 | USD |  |  | m$
EX141 | CAPEX | Inverter cost | Inverter | 3.86 | USD |  |  | m$
EX141 | CAPEX | Mounting System cost | Mounting System | 16.09 | USD |  |  | m$
EX141 | CAPEX | Installation cost | Installation |  | USD |  |  | m$
EX142 | CAPEX | Module cost | Module | 4.29 | USD |  |  | m$
EX142 | CAPEX | Inverter cost | Inverter | 0.62 | USD |  |  | m$
EX142 | CAPEX | Mounting System cost | Mounting System | 1.73 | USD |  |  | m$
EX143 | CAPEX | Module cost | Module | 9.01 | USD |  |  | m$
EX143 | CAPEX | Inverter cost | Inverter | 1.3 | USD |  |  | m$
EX143 | CAPEX | Mounting System cost | Mounting System | 3.82 | USD |  |  | m$
EX144 | CAPEX | Module cost | Module | 10.2 | USD |  |  | m$
EX144 | CAPEX | Inverter cost | Inverter | 1.48 | USD |  |  | m$
EX144 | CAPEX | Mounting System cost | Mounting System | 4.21 | USD |  |  | m$
EX145 | CAPEX | Module cost | Module | 18.43 | USD |  |  | m$
EX145 | CAPEX | Inverter cost | Inverter | 2.65 | USD |  |  | m$
EX145 | CAPEX | Mounting System cost | Mounting System | 7.36 | USD |  |  | m$
EX146 | CAPEX | Module cost | Module | 8.57 | USD |  |  | m$
EX146 | CAPEX | Inverter cost | Inverter | 1.23 | USD |  |  | m$
EX146 | CAPEX | Mounting System cost | Mounting System | 3.61 | USD |  |  | m$
EX147 | CAPEX | Module cost | Module | 9.57 | USD |  |  | m$
EX147 | CAPEX | Inverter cost | Inverter | 2.74 | USD |  |  | m$
EX147 | CAPEX | Mounting System cost | Mounting System | 3.29 | USD |  |  | m$
EX148 | CAPEX | Module cost | Module | 38.71 | USD |  |  | m$
EX148 | CAPEX | Inverter cost | Inverter | 12.04 | USD |  |  | m$
EX148 | CAPEX | Mounting System cost | Mounting System | 13.35 | USD |  |  | m$
EX149 | CAPEX | Inverter cost | Inverter | 3.43 | USD |  |  | m$
EX149 | CAPEX | Mounting System cost | Mounting System | 13.3 | USD |  |  | m$
EX150 | CAPEX | Inverter cost | Inverter | 0.48 | USD |  |  | m$
EX150 | CAPEX | Mounting System cost | Mounting System | 1.54 | USD |  |  | m$
EX151 | CAPEX | Inverter cost | Inverter | 4.38 | USD |  |  | m$
EX151 | CAPEX | Mounting System cost | Mounting System | 15.07 | USD |  |  | m$
EX152 | CAPEX | Inverter cost | Inverter | 0.47 | USD |  |  | m$
EX152 | CAPEX | Mounting System cost | Mounting System | 1.7 | USD |  |  | m$
EX153 | CAPEX | Inverter cost | Inverter | 1.12 | USD |  |  | m$
EX153 | CAPEX | Mounting System cost | Mounting System | 3.87 | USD |  |  | m$
EX154 | CAPEX | Inverter cost | Inverter | 3.95 | USD |  |  | m$
EX154 | CAPEX | Mounting System cost | Mounting System | 15.53 | USD |  |  | m$
EX155 | CAPEX | Inverter cost | Inverter | 0.94 | USD |  |  | m$
EX155 | CAPEX | Mounting System cost | Mounting System | 3.33 | USD |  |  | m$
EX156 | CAPEX | Inverter cost | Inverter | 0.36 | USD |  |  | m$
EX156 | CAPEX | Mounting System cost | Mounting System | 1.44 | USD |  |  | m$
EX157 | CAPEX | Inverter cost | Inverter | 1.16 | USD |  |  | m$
EX157 | CAPEX | Mounting System cost | Mounting System | 4.13 | USD |  |  | m$
EX158 | CAPEX | Inverter cost | Inverter | 0.85 | USD |  |  | m$
EX158 | CAPEX | Mounting System cost | Mounting System | 3.03 | USD |  |  | m$
EX159 | CAPEX | Module cost | Module | 40.02 | USD |  |  | m$
EX159 | CAPEX | Inverter cost | Inverter | 4.31 | USD |  |  | m$
EX159 | CAPEX | Mounting System cost | Mounting System | 18.88 | USD |  |  | m$
EX160 | CAPEX | Module cost | Module | 5.38 | USD |  |  | m$
EX160 | CAPEX | Inverter cost | Inverter | 0.59 | USD |  |  | m$
EX160 | CAPEX | Mounting System cost | Mounting System | 2.54 | USD |  |  | m$
EX161 | CAPEX | Module cost | Module | 11.38 | USD |  |  | m$
EX161 | CAPEX | Inverter cost | Inverter | 1.24 | USD |  |  | m$
EX161 | CAPEX | Mounting System cost | Mounting System | 5.37 | USD |  |  | m$
EX162 | CAPEX | Module cost | Module | 10.56 | USD |  |  | m$
EX162 | CAPEX | Inverter cost | Inverter | 1.14 | USD |  |  | m$
EX162 | CAPEX | Mounting System cost | Mounting System | 5.41 | USD |  |  | m$
EX163 | CAPEX | Module cost | Module | 12.8 | USD |  |  | m$
EX163 | CAPEX | Inverter cost | Inverter | 1.38 | USD |  |  | m$
EX163 | CAPEX | Mounting System cost | Mounting System | 6.04 | USD |  |  | m$
EX164 | CAPEX | Module cost | Module | 22.51 | USD |  |  | m$
EX164 | CAPEX | Inverter cost | Inverter | 2.42 | USD |  |  | m$
EX164 | CAPEX | Mounting System cost | Mounting System | 10.62 | USD |  |  | m$
EX165 | CAPEX | Module cost | Module | 27.62 | USD |  |  | m$
EX165 | CAPEX | Inverter cost | Inverter | 2.77 | USD |  |  | m$
EX165 | CAPEX | Mounting System cost | Mounting System | 9.06 | USD |  |  | m$
EX166 | CAPEX | Module cost | Module | 8.97 | USD |  |  | m$
EX166 | CAPEX | Inverter cost | Inverter | 0.89 | USD |  |  | m$
EX166 | CAPEX | Mounting System cost | Mounting System | 2.94 | USD |  |  | m$
EX167 | CAPEX | Module cost | Module | 18.83 | USD |  |  | m$
EX167 | CAPEX | Inverter cost | Inverter | 1.87 | USD |  |  | m$
EX167 | CAPEX | Mounting System cost | Mounting System | 6.18 | USD |  |  | m$
EX168 | CAPEX | Module cost | Module | 12.04 | USD |  |  | m$
EX168 | CAPEX | Inverter cost | Inverter | 1.19 | USD |  |  | m$
EX168 | CAPEX | Mounting System cost | Mounting System | 3.95 | USD |  |  | m$
EX169 | CAPEX | Module cost | Module | 8.99 | USD |  |  | m$
EX169 | CAPEX | Inverter cost | Inverter | 0.89 | USD |  |  | m$
EX169 | CAPEX | Mounting System cost | Mounting System | 2.95 | USD |  |  | m$
EX165 | OPEX | annual maintenance | Inverter | 2.77 | USD |  |  | m$/year
EX165 | OPEX | annual maintenance | Mounting System | 9.06 | USD |  |  | m$/year
EX166 | OPEX | annual maintenance | Module | 8.97 | USD |  |  | m$/year
EX166 | OPEX | annual maintenance | Inverter | 0.89 | USD |  |  | m$/year
EX166 | OPEX | annual maintenance | Mounting System | 2.94 | USD |  |  | m$/year
EX167 | OPEX | annual maintenance | Module | 18.83 | USD |  |  | m$/year
EX167 | OPEX | annual maintenance | Inverter | 1.87 | USD |  |  | m$/year
EX167 | OPEX | annual maintenance | Mounting System | 6.18 | USD |  |  | m$/year
EX168 | OPEX | annual maintenance | Module | 12.04 | USD |  |  | m$/year
EX168 | OPEX | annual maintenance | Inverter | 1.19 | USD |  |  | m$/year
EX168 | OPEX | annual maintenance | Mounting System | 3.95 | USD |  |  | m$/year
EX169 | OPEX | annual maintenance | Module | 8.99 | USD |  |  | m$/year
EX169 | OPEX | annual maintenance | Inverter | 0.89 | USD |  |  | m$/year
EX169 | OPEX | annual maintenance | Mounting System | 2.95 | USD |  |  | m$/year